## General
Date, in format DD/MM/YY with leading zeros. If no date provided, use 0b/0b/0b where b is blank. | 30/07/05
Originator's name (A) | UW ARCHIVE
MVA Base (F*) | 100
Year (I) | 2005
Season (S - Summer, W - Winter) | W
Case identification (A) | Anderson9BusTest Case

## BUS
Bus number (I) * | Name (A) (left justify) * | Load flow area number (I) Don't use zero! * | Loss zone number (I) | Type (I) * | Final voltage, p.u. (F) * | Final angle, degrees (F) * | Load MW (F) * | Load MVAR (F) * | Generation MW (F) * | Generation MVAR (F) * | Base KV (F) | Desired volts (pu) (F) (This is desired remote voltage if this bus is controlling another bus. | Maximum MVAR or voltage limit (F) | Minimum MVAR or voltage limit (F) | Shunt conductance G (per unit) (F) * | Shunt susceptance B (per unit) (F) * | Remote controlled bus number
1 | Bus1 16.5kV | 1 | 1 | 3 | 1.04 | 0 | 0 | 0 | 0 | 0 | 16.5 | 1.04 | 500 | -500 | 0 | 0 | 0
2 | Bus2 18kV | 1 | 1 | 2 | 1.025 | 0 | 0 | 0 | 163 | 0 | 18 | 1.025 | 99 | -99 | 0 | 0 | 0
3 | Bus3 13.8kV | 1 | 1 | 2 | 1.025 | 0 | 0 | 0 | 85 | 0 | 13.8 | 1.025 | 99 | -99 | 0 | 0 | 0
4 | Bus4 230kV | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0
5 | Bus5 230kV | 1 | 1 | 0 | 1 | 0 | 125 | 50 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0
6 | Bus6 230kV | 1 | 1 | 0 | 1 | 0 | 90 | 30 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0
7 | Bus7 230kV | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0
8 | Bus8 230kV | 1 | 1 | 0 | 1 | 0 | 100 | 35 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0
9 | Bus9 230kV | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0

## BRANCH
Tap bus number (I) * | Z bus number (I) * | Load flow area (I) | Loss zone (I) | Circuit (I) * (Use 1 for single lines) | Type (I) * | Branch resistance R, per unit (F) * | Branch reactance X, per unit (F) * No zero impedance lines | Line charging B, per unit (F) * (total line charging, +B) | Line MVA rating No 1 (I) Left justify! | Line MVA rating No 2 (I) Left justify! | Line MVA rating No 3 (I) Left justify! | Control bus number | Side (I) | Transformer final turns ratio (F) | Transformer (phase shifter) final angle (F) | Minimum tap or phase shift (F) | Maximum tap or phase shift (F) | Step size (F) | Minimum voltage, MVAR or MW limit (F) | Maximum voltage, MVAR or MW limit (F)
1 | 4 | 1 | 1 | 1 | 1 | 0 | 0.0576 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 7 | 1 | 1 | 1 | 1 | 0 | 0.0625 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
3 | 9 | 1 | 1 | 1 | 1 | 0 | 0.0586 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4 | 5 | 1 | 1 | 1 | 0 | 0.01 | 0.085 | 0.176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 6 | 1 | 1 | 1 | 0 | 0.017 | 0.092 | 0.158 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 7 | 1 | 1 | 1 | 0 | 0.032 | 0.161 | 0.306 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 9 | 1 | 1 | 1 | 0 | 0.039 | 0.17 | 0.358 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 8 | 1 | 1 | 1 | 0 | 0.0085 | 0.072 | 0.149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 9 | 1 | 1 | 1 | 0 | 0.0119 | 0.1008 | 0.209 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## infoBUS
1 | 4 | Bus number (I) *
2
3
4
5
6 | 12 | Name (A) (left justify) *
7
8
9
10
11
12
13
14
15
16
17
18
19 | 2 | Load flow area number (I) Don't use zero! *
20
21 | 3 | Loss zone number (I)
22
23
24
25 | 4 | Type (I) *
26
27
28 | 6 | Final voltage, p.u. (F) *
29
30
31
32
33
34 | 7 | Final angle, degrees (F) *
35
36
37
38
39
40
41 | 9 | Load MW (F) *
42
43
44
45
46
47
48
49
50 | 9 | Load MVAR (F) *
51
52
53
54
55
56
57
58
59 | 9 | Generation MW (F) *
60
61
62
63
64
65
66
67
68 | 8 | Generation MVAR (F) *
69
70
71
72
73
74
75
76
77 | 7 | Base KV (F)
78
79
80
81
82
83
84
85 | 6 | Desired volts (pu) (F) (This is desired remote voltage if this bus is controlling another bus.
86
87
88
89
90
91 | 8 | Maximum MVAR or voltage limit (F)
92
93
94
95
96
97
98
99 | 8 | Minimum MVAR or voltage limit (F)
100
101
102
103
104
105
106
107 | 8 | Shunt conductance G (per unit) (F) *
108
109
110
111
112
113
114
115 | 8 | Shunt susceptance B (per unit) (F) *
116
117
118
119
120
121
122
123
124 | 4 | Remote controlled bus number
125
126
127

## infoBRANCH
1 | 4 | Tap bus number (I) *
2
3
4
5
6 | 4 | Z bus number (I) *
7
8
9
10
11 | 2 | Load flow area (I)
12
13 | 3 | Loss zone (I)
14
15
16
17 | 1 | Circuit (I) * (Use 1 for single lines)
18
19 | 1 | Type (I) *
20 | 10 | Branch resistance R, per unit (F) *
21
22
23
24
25
26
27
28
29
30 | 10 | Branch reactance X, per unit (F) * No zero impedance lines
31
32
33
34
35
36
37
38
39
40
41 | 9 | Line charging B, per unit (F) * (total line charging, +B)
42
43
44
45
46
47
48
49
50
51 | 5 | Line MVA rating No 1 (I) Left justify!
52
53
54
55
56
57 | 5 | Line MVA rating No 2 (I) Left justify! | NA
58
59
60
61
62
63 | 5 | Line MVA rating No 3 (I) Left justify! | NA
64
65
66
67
68
69 | 3 | Control bus number | NA
70
71
72
73
74 | 1 | Side (I) | NA
75
76
77 | 6 | Transformer final turns ratio (F)
78
79
80
81
82
83
84 | 7 | Transformer (phase shifter) final angle (F)
85
86
87
88
89
90
91 | 7 | Minimum tap or phase shift (F)
92
93
94
95
96
97
98 | 7 | Maximum tap or phase shift (F)
99
100
101
102
103
104
105
106 | 6 | Step size (F) | NA
107
108
109
110
111
112
113 | 7 | Minimum voltage, MVAR or MW limit (F)
114
115
116
117
118
119
120 | 7 | Maximum voltage, MVAR or MW limit (F)
121
122
123
124
125
126